## Sheet 1 - product_recalls_downl
product_recalls_download-1704894534
Recall Number | Date | Recall Heading | Name of product | Description | Hazard Description | Remedy Type | Units | Incidents | Remedy | Sold At Label | Sold At | Importers | Manufacturers | Distributors | Manufactured In | Custom Label | Custom Field
23-218 | June 08, 2023 | Allied Air Enterprises Recalls Armstrong Air and Air Ease Gas Furnaces Due to Carbon Monoxide Poisoning Hazard | Armstrong Air and Air Ease single stage gas furnaces | This recall involves 96% efficiency gas furnaces under the ARMSTRONG and AIREASE brand names with the model numbers A96UH1E045B12S, A96UH1E070B12S, and/or A96UH1E110C20S. The furnaces weigh between 129 and 170 pounds and were sold between September 2022 and March 2023. The brand name is printed on the outside of the furnace, and the model number is located on the label found by opening the furnace door. | A component inside the furnace was improperly assembled, causing the furnace to produce high levels of carbon monoxide (CO) under certain operating conditions, which poses a risk of CO poisoning to the consumer. | Repair | About 9,255 | None reported | Contact Allied Air Enterprises to schedule a free in-home repair by an authorized technician who will replace the incorrect component. Allied Air Enterprises is contacting all known distributors directly, who will work with dealers to contact all known consumers who purchased the recalled units. Consumers who continue to use the recalled furnaces while awaiting repair should have working carbon monoxide alarms on every level of the home and outside sleeping areas. | Sold At | ARMSTRONG and AIREASE authorized HVAC dealers nationwide from September 2022 through March 2023 for between $1,800 and $3,400. |  | Allied Air Enterprises LLC, of West Columbia, South Carolina |  | United States
22-193 | July 28, 2022 | Daikin Comfort Technologies Manufacturing (formerly Goodman Manufacturing Company, L.P.) Expands Recall of Evaporator Coil Drain Pans to Include Those Installed with Non-Condensing Gas Furnaces Due to Fire Hazard | Evaporator coil drain pans | This recall expands the scope of a previous https://www.cpsc.gov/Recalls/2022/Goodman-Manufacturing-Company-Recalls…; that involved certain evaporator coil drain pans installed with condensing gas furnaces in an up-flow coil configuration. The recall now also includes those drain pans installed with certain configurations of competitor branded (not Goodman, Daikin or Amana-branded) non-condensing residential gas furnaces in a vertical, or “up-flow,” coil configuration, as shown in the table below:    Type   Coil Configuration   Affected Furnace Brands   Affected Coil Serial Numbers   Dates Sold     Condensing furnace system   Up-Flow (Coil above Furnace)  &nbsp; All   Prefixes ranging from 1901 through 2101   Jan. 2019 through Nov. 2021    &nbsp; Non-condensing furnace system (Certain configurations)  &nbsp; Up-Flow (Coil above Furnace)   Any “competitor” brand (excludes Goodman, Daikin or Amana branded furnaces)  &nbsp; Prefixes ranging from 1901 through 2101  &nbsp; Jan. 2019 through Nov. 2021    NOTE:&nbsp; Furnace systems that were repaired with a new evaporator coil drain pan between January 2019 and November 2021, with the serial number range listed above, are also included in this recall. Whether a non-condensing furnace system falls within the scope of the expanded recall depends on the location of the burners, which, if unknown, can be verified through DCT’s model verification tool at:&nbsp;https://www.recallrtr.com/drainpan">https://www.recallrtr.com/drainpan"> | The molded plastic drain pan located at the bottom of the evaporator coil can overheat, melt and deform, posing a fire hazard. &nbsp; | Repair | About 298,300 (In addition, about 44,000 were sold in Canada) | DCT has received 26 reports of fire involving evaporator coil drain pans, including three reports of fire since the recall was announced in November 2021. Several of these incidents have resulted in significant fire and smoke damage to residences. No injuries have been reported. | Consumers should contact Daikin Comfort Technologies Manufacturing, L.P. (DCT) to determine whether your unit is included in this recall and to register for the free repair by a qualified technician. DCT is contacting all registered consumers where records indicate their gas furnace system is subject to the expanded recall. | Sold At | Heating and cooling equipment independent dealers nationwide from January 2019 through November 2021 for between $200 and $1,200 per unit. Consumers may have purchased a bundled product including the coil, furnace, installation, and ancillary parts and supplies, or may have purchased the evaporator coil drain pan separately as a replacement product. |  | Daikin Comfort Technologies Manufacturing, L.P. (formerly Goodman Manufacturing Company, L.P.) of Houston, Texas (Evaporator Coils) |  | United States
22-021 | November 18, 2021 | Goodman Manufacturing Company Recalls Evaporator Coil Drain Pans Installed with Condensing Gas Furnaces Due to Fire Hazard | Evaporator coil drain pans installed with residential condensing gas furnaces in an up-flow configuration | This recall involves evaporator coil drain pans paired with residential condensing gas furnaces that are installed in a vertical, or “up-flow,” configuration. Furnaces in this configuration that were installed or repaired with a new evaporator coil drain pan between January 2019 and November 2021 are affected by this recall. Only evaporator drain pans with serial numbers with prefixes ranging from 1901 through 2101 are covered by this recall.&nbsp; The evaporator coil, which sits atop the vertically installed furnace, will either be cased or uncased. The evaporator coil’s serial number is displayed on a label attached to both cased and uncased models. For cased evaporator coils, the serial number is on the label attached to the coil case. For uncased units, the serial number is on a label attached to the front of the coil. It may be necessary to determine the brand and model number of your existing furnace in order to provide the correct repair kit. In most instances, the furnace brand and model number can be found on your furnace on the “Energy Guide” label. For all other instances, please refer to the instructions on Goodman’s model verification tool at:&nbsp;https://www.recallrtr.com/drainpan">https://www.recallrtr.com/drainpan | The molded plastic drain pan located at the bottom of the evaporator coil, when installed with a residential condensing gas furnace in an up-flow configuration, can overheat, melt, and deform, posing a fire hazard. | Repair | About 298,300 (In addition, about 44,000 in Canada) | Goodman has received 23 reports of fire involving the evaporator coil drain pans. These incidents have resulted in significant fire and smoke damage to residences. No injuries were reported. | Contact Goodman Manufacturing Company to register for the free repair by a qualified technician. Consumers should visit Goodman’s recall website to use a model verification tool for the evaporator coil, furnace, and outdoor condenser. Goodman’s model verification tool provides step-by-step instructions for determining if your gas furnace system is subject to this recall. Goodman will also assist consumers in gathering information on their units including the drain pan serial number, the furnace model number and brand name, and the model number for the outdoor system. | Sold At | Heating and cooling equipment independent dealers nationwide from January 2019 through November 2021 for between $200 and $1200 per unit (drain pan paired with evaporator coil). Consumers may have purchased a bundled product including the coil, furnace, installation, and ancillary parts and supplies, or may have purchased the evaporator coil drain pan separately as a replacement product. |  | Goodman Manufacturing Company L.P., of Houston, Texas (Evaporator Coils) &nbsp; |  | United States
09-099 | January 14, 2009 | CPSC, Manufacturers Announce Changes to 1998 Recall Program to Replace Dangerous Home Heating Vent Pipes
05-073 | December 21, 2004 | CPSC, Robertshaw Controls Company Announce Recall of Certain Models of 7000 Series Gas Control Valves
05-047 | November 14, 2004 | CPSC, York International Corp. Announce Recall of Gas Furnaces
01-523 | September 05, 2001 | CPSC, York International Corporation Announce Recall of Gas Furnaces | Gas furnaces sold under the York, Luxaire, and Coleman brand names | PRODUCT: Gas Furnaces - York International Corporation of York Pa., has initiated a voluntary recall to inspect and possibly repair about 7,000 mid-efficiency 80 percent gas furnaces manufactured between May 1, 2001 and July 16, 2001 to correct possible unsecured heat exchanger tubes in furnaces. The furnaces are marketed under the York, Luxaire, and Coleman brands. York mid-efficiency 80 percent gas furnaces have been installed nationwide by independent installers and contractors. The model families that are involved are P4HU, P1DU, FL8B, G8D, G8T, and L8T. The brand name, model number and serial numbers are located inside the removable front panels of the furnaces The serial numbers of the suspect units all start with the same four alpha characters "WFKM" and "WGKM." and the numerical sequences are as follows:&nbsp;Furnace Serial NumbersModel NumberWGKM007655-WGKM007659FL8B08016UH12WGKM007661-WFKM007709G8T08016UHB11WGKM007605-WGKM007619G8D10020UHC11WFKM003094-WFKM003143G8T08016UHB11AWFKM003144-WFKM003193G8T10020UHC11AWGKM007710-WGKM007739L8T08016UHB11WGKM012457-WGKM012506L8T10020UHC11WGKM018664-WGKM018668L8T11520UHC11WGKM007620-WGKM007629P1DUC20L08001WFKM003055-WFKM003128WFKM047734-WFKM047783WFKM020141-WFKM020240WGKM007550-WGKM007654WGKM022174-WGKM022308P4HUB12N08001WFKM003129-WFKM014912WFKM031608-WFKM031822WFKM056001-WFKM056450WFKM068950-WFKM069349WGKM009491-WGKM009852WGKM022833-WGKM023051&nbsp;P4HUB16N06401WFKM016427-WFKM016526WFKM031458-WFKM031607WFKM047784-WFKM054043WFKM063721-WFKM064395WGKM009291-WGKM009490WGKM022319-WGKM022831P4HUB16L06401WFKM020241-WFKM020290WFKM031824-WFKM031872P4HUC20N06401WFKM020291-WFKM020365WFKM031873-WFKM032032WGKM018256-WGKM018455WGKM031478-WGKM031877P4HUC20L08001WFKM020366-WFKM020465WFKM063106-WFKM063195WGKM018669-WGKM018738P4HUC20N09201WFKM032033-WFKM032107WGKM018466-WGKM018663P4HUC20N08001WFKM032108-WFKM032157WGKM012322-WGKM012406P4HUC16N09201WGKM012000-WGKM012104WGKM030646-WGKM030722P4HUB16L08001WGKM012105-WGKM012321P4HUB16N08001WGKM018739-WGKM018913P4HUC20N09201WGKM030726-WGKM030923P4HUB16N09201PROBLEM: York's quality assurance and manufacturing investigation found these furnaces could have detached heat exchanger tubes. A separated heat exchanger tube could result in leakage of flue gasses, including carbon monoxide, which could result in serious injury or death.INCIDENTS/INJURIES: None reported.WHAT TO DO: Consumers should stop using these furnaces immediately and contact York for information in determining if the furnace is part of the recall. Consumers should call York toll-free at (877) 874-7378 between 8:00 a.m. and 4:30 p.m. ET, Monday through Friday, to get information on scheduling a free inspection and repair. All installed furnaces will be inspected and furnaces with improperly fabricated heat exchanger tubes will be replaced at no cost to the consumer. York has notified the furnace distributors to contact consumers directly about the recall. | York's quality assurance and manufacturing investigation found these furnaces could have detached heat exchanger tubes. A separated heat exchanger tube could result in leakage of flue gasses, including carbon monoxide, which could result in serious injury or death. | Inspect, Repair | About 7,000 | None reported. | Consumers should stop using these furnaces immediately and contact York for information in determining if the furnace is part of the recall. Consumers should call York toll-free at (877) 874-7378 between 8:00 a.m. and 4:30 p.m. ET, Monday through Friday, to get information on scheduling a free inspection and repair. All installed furnaces will be inspected and furnaces with improperly fabricated heat exchanger tubes will be replaced at no cost to the consumer. |  |  |  | York International Corporation of York Pa.