## Sheet 1 - product_recalls_downl
product_recalls_download-1704894145
Recall Number | Date | Recall Heading | Name of product | Description | Hazard Description | Remedy Type | Units | Incidents | Remedy | Sold At Label | Sold At | Importers | Manufacturers | Distributors | Manufactured In | Custom Label | Custom Field
23-779 | August 03, 2023 | Daikin Comfort Technologies Recalls Amana Packaged Terminal Air Conditioners and Heat Pumps Due to Burn and Fire Hazards (Recall Alert) | Amana Packaged Terminal Air Conditioners/Heat Pumps (PTACs) equipped with “DigiAir” modules | This recall involves Amana-branded Packaged Terminal Air Conditioners and Heat Pumps (PTACs) assembled with “DigiAir” modules. DigiAir modules are factory-installed make-up air systems with configurable dehumidification. The recalled units are beige and have a model number that begins with PMH or PMC. Amana is printed on the unit’s control cover and the model number is on the label located below the control board. | The DigiAir module compressor can overheat, posing burn and fire hazards. | Repair | About 62,100 (In addition, about 302 were sold in Canada) | DCT has received 52 reports of incidents with the “DigiAir” compressor, including 10 that resulted in fires. No injuries have been reported. | Consumers should contact Daikin Comfort Technologies Manufacturing, L.P. (DCT) for instructions on disabling the DigiAir compressor in the recalled PTACs and to arrange for the free repair of the unit by a qualified technician. DCT is contacting all known purchasers directly. | Sold At | Through direct sales and heating and cooling dealers nationwide from May 2015 through January 2023 for between $1,200 and $1,400. |  | Daikin Comfort Technologies Manufacturing L.P. (DCT), of Houston, Texas |  | United States
20-009 | October 10, 2019 | Carrier Recalls Carrier- and Bryant-Branded Heat Pumps Due to Fire Hazard | Carrier- and Bryant-branded 1.5-ton multi-zone, 4-ton multi zone and 4-ton single-zone ductless heat pumps |  | The fan motor on the heat pumps can fail, causing the units to overheat, posing a fire hazard. | Repair | About 5,350 (in addition, about 450 were sold in Canada) | Carrier has received six reports of the heat pumps catching fire (one occurred in the United States and five in Canada). No injuries have been reported. | Consumers should immediately contact their installing servicer, dealer or contractor to arrange for a free repair. While awaiting repair, consumers should monitor affected units while they are being operated and keep foliage and other flammable items at least 24 inches away from the recalled units. | Sold At | Carrier and Bryant distributors, independent dealers and contractors nationwide from March 2015 through April 2019 for between about $600 and about $4,000. | Carrier Corporation, of Palm Beach Gardens, Fla. |  |  | China
18-113 | March 01, 2018 | Goodman Company Recalls Packaged Terminal Air Conditioners and Heat Pumps Due to Burn and Fire Hazards | Packaged Terminal Air Conditioners/Heat Pumps (PTACs) | This recall involves Goodman, Amana, York International and Energy Knight branded Packaged Terminal Air Conditioners and Heat Pumps (PTACs). The recalled units are beige and the brand name is printed on most of the units’ control covers. Models that begin with the following prefixes are included in this recall: EKTC15, EKTH15, PMC15, PMH12, PMH15, PTC15, PTH12, PTH15, UCYB15 and UCYH15.&nbsp; Only units with the first four digits of the serial numbers in the range between 1001 and 1709 are affected.&nbsp; The model number and serial number are located on a label behind the front cover of the unit. Most of the recalled PTAC units are installed in hotels, motels, schools, apartment buildings and commercial spaces to provide room climate control. | The outdoor fan motors can overheat, posing burn and fire hazards. | Repair | About 534,000 in the U.S. (In addition, about 3,400 in Canada) | Goodman has received nine reports of PTACs catching on fire, including one report of smoke inhalation with medical attention. | Consumers should contact Goodman for a free repair kit and installation by an authorized technician. Commercial owners are being contacted directly and will be provided with free repair kits. | Sold At | Goodman and heating and cooling dealers nationwide from January 2010 through February 2018 for between $700 and $1,400. |  | Goodman Company, L.P. of Houston, Texas |  | United States
10058 | December 07, 2009 | Goodman Company Reannounces Recall of Air Conditioner/Heat Pump Units Due to Fire Hazard