## Sheet 1 - product_recalls_downl
product_recalls_download-1704894695
Recall Number | Date | Recall Heading | Name of product | Description | Hazard Description | Remedy Type | Units | Incidents | Remedy | Sold At Label | Sold At | Importers | Manufacturers | Distributors | Manufactured In | Custom Label | Custom Field
17-094 | February 23, 2017 | Carrier Expands Recall of Packaged Terminal Air Conditioners and Heat Pumps Due to Fire Hazard | Packaged Terminal Air Conditioners (PTAC) and Packaged Terminal Heat Pumps (PTHP) | This expanded recall involves Packaged Terminal Air Conditioners (PTAC) and Packaged Terminal Heat Pumps (PTHP) sold under the Bryant, Carrier and Fast brand names. Recalled units include those with original power cords and those that received a replacement &nbsp;power cord as part of the 2007 recall. The recalled units have capacities of 7,000; 9,000; 12,000 and 15,000 BTUs and plug into 208/230 volt outlets. The following brands and eight models are being recalled: •&nbsp;&nbsp; Carrier models 52CE, 52CQ, 52PE, 52PQ, 52PC, 52ME, 52MQ; •&nbsp;&nbsp; Bryant models 840, 841, and 842; and •&nbsp;&nbsp; Fast models 840, 841, and 842. Model and serial numbers are located on the ratings/data plate on the right front of the unit, underneath the removable front panel. A complete list of the serial numbers involved in this recall is available by calling Carrier or at https://www.carrier.com">www.carrier.comhttp://www.carrier.com">. | The power cord plug of the packaged terminal air conditioners (PTAC) and packaged terminal heat pumps (PTHP) can overheat, posing a fire hazard to consumers. | Repair | About 94,000 (in addition, about 285,000 were previously recalled in December 2015 and 185,000 were previously recalled in November 2007) | Carrier has received 14 additional reports of overheating. No injuries have been reported in the additional incidents. | Consumers should stop using and unplug the recalled units and contact Carrier to receive a free replacement cord. | Sold At | HVAC dealers and factory-direct sales nationwide from January 2002 through December 2009 for between $425 and $675. |  | Carrier Corporation, of Jupiter, Fla. |  | Mexico and China
16-711 | December 09, 2015 | Basler Electric Recalls Transformers Due to Fire, Shock Hazards (Recall Alert) | Electrical transformers | The circuit breaker in the transformer can fail to trip, posing fire and electrical shock hazards. | The circuit breaker in the transformer can fail to trip, posing fire and electrical shock hazards. | Replace | About 11,900 | None reported | Manufacturers and distributors should immediately stop distributing the recalled transformers and contact Basler to receive free replacement transformers. Due to the risk of shock, consumers should not attempt to open or replace the recalled transformers on their own but should contact the manufacturer of their product for further instructions. Basler has notified manufacturers and distributors about the recall directly. | Sold At | Basler Electric to manufacturers and distributors of end products that contain these transformers from September 2014 to Novermber 2014 for various prices. |  | Basler Electric Company, of Highland, Ill. |  | Mexico
15-050 | December 18, 2014 | Schneider Electric Recalls PowerPact J-Frame Circuit Breakers Due to Fire, Burn, Electrical Shock Hazards | Circuit breakers | The circuit breakers will not trip during an overload condition. | The circuit breaker will not trip during an overload condition, posing a risk of fire, burns and electrical shock. | Replace, Repair | About 62,500 | None reported | Consumers should immediately stop using the recalled circuit breakers and contact Schneider Electric for either a free replacement circuit breaker and a credit of up to $300 per address to cover labor costs for installation by a certified electrician or a handle update kit and a credit of up to $150 per address to cover labor costs for installation by a certified electrician. | Sold At | Authorized Schneider Electric distributors, original equipment manufacturers and in factory assembled panel boards from March 2014 through September 2014 for between $2,900 and $11,200. |  |  |  | USA and Mexico
15-710 | December 02, 2014 | Eaton Recalls Electrical Meter Breakers Due to Shock Hazard (Recall Alert) | Electrical Meter Breakers | The MBED 3042 series residential meter breaker's electrical components can be easily accessed, posing a shock hazard. | The meter breaker's electrical components can be easily accessed, posing a shock hazard to consumers. | Repair | About 1,100 | None | Only qualified electrical contractors should repair the product, and consumers should not open the meter breaker's enclosure. Electrical contractors should immediately contact their meter breaker distributor to determine if any of their units are included in this recall. Contractors will receive a free remedy kit, including shipping. Consumers should contact Eaton or the electrical contractor that installed the recalled meter breaker for the free installation of the repair kit. | Sold At | Authorized distributors in California and Nevada from July 2014 through August 2014 from about $200. |  |  |  | United States
15-709 | November 20, 2014 | Tyco Fire Protection Recalls Simplex Fire Alarm Control Panels Due to Failure to Activate (Recall Alert) | Simplex 4100ES Fire Alarm Control Panel | A defective chip in certain alarm panels produced between 3/15/2014 - 6/20/2014 and used exclusively in commercial settings can cause premature battery failure and prevent activation of devices during alarm conditions. | A defective chip in the alarm panel can cause premature battery failure and prevent activation of devices during alarm conditions, posing a risk of injury and property damage. | Replace | About 750 | None reported. | SimplexGrinnell is inspecting and replacing all circuit boards with the defective chip. Simplex Grinnell and Tyco are contacting purchasers directly. | Sold Exclusively At | SimplexGrinnell from March 2014 through June 2014 for about $4,000. |  |  |  | Mexico
14-134 | March 18, 2014 | Schneider Electric Recalls Square D-Brand F and K Frame Circuit Breakers Due to Fire Hazard | Square D branded, molded case F and K frame circuit breakers | The circuit breaker can fail to trip when an overload occurs. | The circuit breaker can fail to trip when an overload occurs, posing the risk of fire, burn and electric shock. | Replace | About 28,400 | None reported. | Consumers should immediately check to see if they have the recalled circuit breakers. Consumers with uninstalled products will receive a replacement. Installed products will be replaced at no charge to the customer with an allowance of up to $300 per site to cover labor costs. | Sold Through | Authorized Schneider Electric distributors nationwide such as Border States Electric Supply, Crescent Electric Supply Co., Dealers Electric Supply Co., Graybar Electric Co., Rexel, W.W. Grainger from May 2013 to June 2013 for between $200 and $9,260. |  |  |  | Mexico
10-354 | September 22, 2010 | Siemens Recalls Circuit Breakers Due to Fire Hazard
10-749 | August 01, 2010 | Miami Breaker Recalls Counterfeit Square D Circuit Breakers Due to Fire Hazard
10-012 | October 14, 2009 | Single Meter Sockets Recalled by Milbank Manufacturing Due to Fire and Electrocution Hazards
08-556 | April 08, 2008 | Fire Alarm Control Panel Recalled By Gamewell FCI Due to Alert Failure
08-151 | December 26, 2007 | North American Breaker Co. Recalls Counterfeit Circuit Breakers Due to Fire Hazard
08-054 | October 29, 2007 | Connecticut Electric Recalls Counterfeit Square D Circuit Breakers Due To Fire Hazard
07-036 | November 15, 2006 | Scott Electric Co. Inc. Recalls Counterfeit Circuit Breakers Due To Fire Hazard
05-515 | November 18, 2004 | CPSC, Midwest and GE Announce Recall of Meter Load Centers
05-035 | November 03, 2004 | CPSC, Schneider Electric North American Division Announce Recall of AFCIs | Arc Fault Circuit Interrupters (AFCI) | The recalled Square D QO® and Homeline® Arc Fault Interrupter circuit breakers are used with 15- and 20-amp branch circuits. They are required to be installed in bedroom circuits in accordance with the 2002 National Electrical Code. The recalled units were manufactured after March 1, 2004, and have a blue test button. The AFCI circuit breakers have one of the following date codes - CN, DN, EN, FN, GN, HN, or JN - stamped in red on the breaker label located just above the wiring terminal. The recalled units also have one of the following catalog numbers printed on a label on the front of the breaker: QO115AFI, QO115AFIC, QO120AFI, QO120AFIC, QOB115AFI, QOB120AFI, HOM115AFI, HOM115AFIC, HOM120AFI, HOM120AFIC, QO115VHAFI, QO120VHAFI, QOB115VHAFI, or QOB120VHAFI. | An AFCI is an electrical circuit protection device (circuit breaker) that detects electrical arcs from cracked, broken or damaged electrical insulation and shuts off power to the circuit before the arcing leads to a fire. An electronic component failure inside the AFCIs can cause the devices to not detect an electrical arc. Although the AFCIs will function as regular circuit breakers, they may not detect an arc fault, posing a safety risk to consumers.&nbsp;https://cpsc-prod.ctacdev.com/cpscpub/prerel/prhtml05/05035c.html">Clar… Statement | Refund, Replace | About 700,000 | Schneider Electric is investigating one reported fire during a new home construction that may be related to this problem. No injuries have been reported. | Installed AFCIs will be replaced free of charge through electrical contractors. Consumers can return uninstalled AFCIs to the retailers or distributor from whom the unit was purchased for a free replacement unit. | Sold At | Electrical distributors and retailers sold the AFCIs between March 2004 and September 2004 for between $30 and $130. |  | Schneider Electric North American Division, of Palatine, Ill. |  | Mexico
02-556 | August 08, 2002 | CPSC, Square D Company Announce Recall of Circuit Breakers
02-525 | March 12, 2002 | CPSC and GE Interlogix Announce Recall to Repair Security Control Panels | Security Control Panel | GE Interlogix of Tualatin, Ore., is voluntarily announcing a recall to repair approximately 18,000 security control panels. The repair includes all ZX400, ZX410 and ZX440F security control panels experiencing "MEMORY ERROR" or "NO COM FROM CONTROL" errors and all ZX300 and ZX310 security control panels that are being monitored. The control panels are used mainly to guard against burglary but can be linked to smoke and fire alarms. The brand name "Moose" is printed on the front of the keypad.&nbsp; | The systems can fail to communicate with the central station that should receive the distress signal, which then would fail to alert the fire department, police department, or ambulance service. This poses a safety risk to consumers. | Repair | 18000 | CPSC and GE Interlogix are not aware of any incidents involving these security control panels. This recall is being conducted to prevent the possibility of incidents or injuries. | Consumers with these security control panels should contact their service dealers immediately to arrange for an inspection and repair. Meanwhile, in the event of an emergency, consumers should not rely on their security systems to contact emergency personnel. | Sold At | Authorized dealers and distributors sold the security control panels nationwide from November 1998 to March 2001 for between $40 and $260.